## Sutron
Sutron Xlink500 Datalogger Settings
| GP1 | GP2 | GP3 | GP4 | GP5 | Measurements
Site Name | aliquot_vol_mL | bottle_size_L | pacing_volume_cf | bottle_num | sampling_on | M1 - Alarm1 | Threshold | tx mode
Outfalls
Lomica
Ocean's 11
Tazon
Via Rancho
El Ku
Creeks
Del Dios | Head vs Flow | 19L |  | 1 min |  | High |  | Tx In And Out
Felicita | Head vs Flow | 19L |  | 1 min |  | High |  | Tx In And Out
Kit Carson | Head vs Flow | 19L |  | 1 min |  | High |  | Tx In And Out
Cloverdale | Head vs Flow | 19L |  | 1 min |  | High |  | Tx In And Out
Guejito | Head vs Flow | 19L |  | 1 min |  | High |  | Tx In And Out
San Dieguito Creek | Head vs Flow | 19L |  | 1 min |  | High |  | Tx In And Out
Sycamore | Head vs Flow | 19L |  | 1 min |  | High |  | Tx In And Out
Green Valley | Head vs Flow | 19L |  | 1 min |  | High | 3.5 | Tx In And Out
Moonsong | Head vs Flow | 19L |  | 1 min |  | High |  | Tx In And Out

## SD900 sampler
SD900 Sampler Settings | [15 empty] | Adv Sampling
Site Name | Bottle Quantity | Bottle Volume | Tubing Length | Tubing Size | Program Delay | Sample Collection | Take Sample Every | Override Time | Take first sample | Run Mode | Liquid Sensor | Sample Volume | Intake Rinses | Sample Retries | Site ID | Set Pt Sample | Special Output | Other stuff?
Outfalls
Lomica | 1 | 19L | 10 ft | 3/8" Teflon | Disabled | Flow based | 1 count | Disabled | After Interval | Continuous | Enabled | 250mL | 0 | 0 | DW0917 | Not checked (disabled) | Enabled-After Cycle | None checked
Ocean's 11 | 1 | 19L |  | 3/8" Teflon | Disabled
Tazon | 1 | 19L |  | 3/8" Teflon | Disabled
Via Rancho | 1 | 19L |  | 3/8" Teflon | Disabled
El Ku | 1 | 19L |  | 3/8" Teflon | Disabled
Creeks
Del Dios | 1 | 19L |  | 3/8" Teflon | Disabled
Felicita | 1 | 19L |  | 3/8" Teflon | Disabled
Kit Carson | 1 | 19L |  | 3/8" Teflon | Disabled
Cloverdale | 1 | 19L |  | 3/8" Teflon | Disabled
Guejito | 1 | 19L |  | 3/8" Teflon | Disabled
San Dieguito Creek | 1 | 19L |  | 3/8" Teflon | Disabled
Sycamore | 1 | 19L |  | 3/8" Teflon | Disabled
Green Valley | 1 | 19L |  | 3/8" Teflon | Disabled
Moonsong | 1 | 19L |  | 3/8" Teflon | Disabled

## Sigma 950 Flowmeter
Sigma 950 Flowmeter Settings
Site Name | Primary Device | Conveyance | Size | Recording Interval
Outfalls
Lomica | Area Velocity | Pipe |  | 1 min
Ocean's 11 | Area Velocity | Pipe |  | 1 min
Tazon | Area Velocity | Pipe |  | 1 min
Via Rancho | Area Velocity | Pipe |  | 1 min
El Ku | Area Velocity | Trapezoidal |  | 1 min
Creeks
Del Dios | Head vs Flow | 19L |  | 1 min
Felicita | Head vs Flow | 19L |  | 1 min
Kit Carson | Head vs Flow | 19L |  | 1 min
Cloverdale | Head vs Flow | 19L |  | 1 min
Guejito | Head vs Flow | 19L |  | 1 min
San Dieguito Creek | Head vs Flow | 19L |  | 1 min
Sycamore | Head vs Flow | 19L |  | 1 min
Green Valley | Head vs Flow | 19L |  | 1 min
Moonsong | Head vs Flow | 19L |  | 1 min

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only