## Sheet1
Bottle volume (L) |  | 20 |  |  | =pacing estimate
Aliquot volume (mL) |  | 250 |  |  | =modify
Maximum number of aliquots |  | 80 |  |  | =JN WW3 pacing estimate
Target number of aliquots |  | 65
Site | Predicted Rainfall | Predicted Total Storm Flow1 |  | Predicted Peak Flow1 |  | Total Stormflow based pacing2 |  | Peak Stormflow based pacing3 |  | WW3 Pacing (1.5"+ rainfall) |  | WW2 Pacing (0.57" rainfall) |  | WW2 total number of attemped aliquots | Notes
| in | cf | gal | cfs | gpm | cf | gal | cf | gal | cf | gal | cf | gal
DW0011-Bernardo Plaza | 0.5 | 6316.94 | 47253.996 | 1.5668 | 703.2308 | 97.1837 | 726.9846 | 470.04 | 3516.1436 | 668 | 5000 | 401 | 3000 | 23 | Just enough aliquots with 3K. Figured round down from 1" rainfall pacing estimate
| 1 | 13562.94 | 101457.8439 | 3.3705 | 1512.7899 | 208.6606 | 1560.8899 | 1011.15 | 7563.9278
| 1.5 | 20808.94 | 155661.6918 | 5.1742 | 2322.3491 | 320.1375 | 2394.7953 | 1552.26 | 11611.712
| 2 | 28054.94 | 209865.5398 | 6.9779 | 3131.9083 | 431.6145 | 3228.7006 | 2093.37 | 15659.4962
| 2.5 | 35300.94 | 264069.3877 | 8.7816 | 3941.4675 | 543.0914 | 4062.606 | 2634.48 | 19707.2803
| 3 | 42546.94 | 318273.2356 | 10.5853 | 4751.0267 | 654.5683 | 4896.5113 | 3175.59 | 23755.0645
DW0317-Tazon | 0.5 | 8561.22 | 64042.3774 | 2.3073 | 1035.6137 | 131.7111 | 985.2673 | 692.205 | 5178.0533 | 267 | 2000 | 134 to 535 | 1,000 to 4,000 | 86 | New probe configuration. Old probe configuration under estimating flow. Figured keep it low.
| 1 | 16432.72 | 122925.2906 | 4.9292 | 2212.3852 | 252.8111 | 1891.1583 | 1478.76 | 11061.8938
| 1.5 | 24304.22 | 181808.2038 | 7.551 | 3389.1566 | 373.9111 | 2797.0493 | 2265.315 | 16945.7342
| 2 | 32175.72 | 240691.117 | 10.1729 | 4565.9281 | 495.0111 | 3702.9403 | 3051.87 | 22829.5746
| 2.5 | 40047.22 | 299574.0302 | 12.7947 | 5742.6996 | 616.1111 | 4608.8312 | 3838.425 | 28713.415
| 3 | 47918.72 | 358456.9433 | 15.4166 | 6919.4711 | 737.2111 | 5514.7222 | 4624.98 | 34597.2554
DW914-Lomica | 0.5 | 81419 | 609056.4579 | 6.1638 | 2766.5138 | 1252.6 | 9370.0994 | 1849.14 | 13832.5288 | 4010 | 30000 | 1,604 to 4,813 | 12,000 to 36,000 | 97 | Figured round down from 1.5" rainfall pacing estimate
| 1 | 176533 | 1320558.6372 | 11.052 | 4960.4968 | 2715.8923 | 20316.2867 | 3315.6 | 24802.4121
| 1.5 | 271647 | 2032060.8164 | 15.9402 | 7154.4798 | 4179.1846 | 31262.4741 | 4782.06 | 35772.2955
| 2 | 366761 | 2743562.9957 | 20.8284 | 9348.4628 | 5642.4769 | 42208.6615 | 6248.52 | 46742.1788
| 2.5 | 461875 | 3455065.175 | 25.7166 | 11542.4459 | 7105.7692 | 53154.8488 | 7714.98 | 57712.0622
| 3 | 556989 | 4166567.3543 | 30.6048 | 13736.4289 | 8569.0615 | 64101.0362 | 9181.44 | 68681.9455
HDG101-El Ku | 0.5 | 5641.5 | 42201.3536 | 1.1656 | 523.1367 | 86.7923 | 649.2516 | 349.665 | 2615.676 | 1000 | 7500 | 335 to 1,337 | 2,500 to 10,000 | 102 | Missed samples during peak flows on WW2. Jumped to 10k pacing on WW2. Figured go with a rounded up 1.5" rainfall pacing estimate
| 1 | 14369.5 | 107491.3321 | 2.1843 | 980.3848 | 221.0692 | 1653.7128 | 655.29 | 4901.91
| 1.5 | 23097.5 | 172781.3107 | 3.2031 | 1437.6329 | 355.3462 | 2658.174 | 960.915 | 7188.1439
| 2 | 31825.5 | 238071.2893 | 4.2218 | 1894.881 | 489.6231 | 3662.6352 | 1266.54 | 9474.3778
| 2.5 | 40553.5 | 303361.2678 | 5.2405 | 2352.1292 | 623.9 | 4667.0964 | 1572.165 | 11760.6117
| 3 | 49281.5 | 368651.2464 | 6.2593 | 2809.3773 | 758.1769 | 5671.5576 | 1877.79 | 14046.8457
HDG102-Via Rancho | 0.5 | 51347.2 | 384103.7565 | 9.0676 | 4069.8336 | 789.9569 | 5909.2886 | 2720.28 | 20349.1089 | 5000 | 37403 | 2500 | 18701 | 92 | 2.5k pacing worked well on WW2 figured go with a rounded down 1.5" rainfall pacing estimate.
| 1 | 100838.2 | 754322.1719 | 13.6392 | 6121.7162 | 1551.3569 | 11604.9565 | 4091.76 | 30608.4925
| 1.5 | 150329.2 | 1124540.5872 | 18.2108 | 8173.5989 | 2312.7569 | 17300.6244 | 5463.24 | 40867.8761
| 2 | 199820.2 | 1494759.0025 | 22.7824 | 10225.4815 | 3074.1569 | 22996.2923 | 6834.72 | 51127.2597
| 2.5 | 249311.2 | 1864977.4178 | 27.354 | 12277.3642 | 3835.5569 | 28691.9603 | 8206.2 | 61386.6432
| 3 | 298802.2 | 2235195.8331 | 31.9256 | 14329.2469 | 4596.9569 | 34387.6282 | 9577.68 | 71646.0268
1. Based on linear rainfall/runoff relationship (see FLOW worksheets \\SDG1-FS1\SDShare\Projects-South\Environmental - Schaedler\5025-19-1029 City of SD TO 29 Hodges Nutrient Source Investigation\Data & Field Records\Flow data\MS4 Flow Processed)
2. Based on predicted stormflow total divided by target number of aliquots
3. Based on a minimum 5 minute time interval between aliquots during predicted peak flow

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only