## Moonsong
MOONSONG | FLOW DATA - SUMMARY | [6 empty] | Color Codes
EVENT # | EVENT DATE | FLOW (CFS) | FLOW (GPM) | STAFF GAGE (in) | FLOW METER LEVEL (in) | GAGE EVENT QUALIFIER |  | Formula - Do NOT Input
1 | 2020-03-03 16:30 | 0.12514 | 56.1673 | 0 | 0 | G |  | INPUT Field Data
2 | 2020-03-03 16:40 | 0.11468 | 51.4739 | 0 | 0 | G |  | Event Qualifiers
3 | 2020-03-02 14:35 | 0.21835 | 98.0026 | 0 | 0.68 | F | E | Excellent - Channel is uniform; no obstructions
4 | 2020-03-02 14:45 | 0.20772 | 93.2337 | 0 | 0.68 | F | G | Good - relatively uniform channel; few obstructions in flow path
5 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | F | Fair - Irregular channel; multiple obstructions in flow path; non-laminar flow
6 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | P | Poor - Highly irregular channel; multiple obstructions limit ability to make required measurements
MOONSONG | Water Line Start (in) = | 36 | Section width= | 5.7273 | inches | Stream Width (in)= | 63 | # of measurements | 11
EVENT NUMBER | 1 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-03 | 1 | 38.8636 | 1.8 | 5.7273 | 0.071591 | in2 to ft2 | 0.02 | 0.0014318
TIME | 16:30 | 2 | 44.5909 | 4.2 | 5.7273 | 0.16705 | 0.0069444 | 0.004 | 0.00066818
FIELD TEAM | JE JN | 3 | 50.3182 | 6 | 5.7273 | 0.23864 |  | 0.021 | 0.0050114
STAFF GAGE (in) |  | 4 | 56.0455 | 8.64 | 5.7273 | 0.34364 |  | 0.059 | 0.020275
FLOW METER LEVEL (in) |  | 5 | 61.7727 | 12 | 5.7273 | 0.47727 |  | 0.056 | 0.026727
EVENT QUALIFIER | G | 6 | 67.5 | 12.6 | 5.7273 | 0.50114 |  | 0.05 | 0.025057
FIELD NOTES |  | 7 | 73.2273 | 13.2 | 5.7273 | 0.525 |  | 0.068 | 0.0357
|  | 8 | 78.9545 | 12.96 | 5.7273 | 0.51545 |  | 0.019 | 0.0097936
|  | 9 | 84.6818 | 12 | 5.7273 | 0.47727 |  | 0.001 | 0.00047727
|  | 10 | 90.4091 | 7.2 | 5.7273 | 0.28636 |  | 0 | 0
|  | 11 | 96.1364 | 0 | 5.7273 | 0 |  | 0 | 0
[5 empty] | Total Area (ft2) | 3.6034 |  | Total Flow (CFS) | 0.12514
MOONSONG | Water Line Start (in) = | 36 | Section width= | 5.7273 | inches | Stream Width (in)= | 63 | # of measurements | 11
EVENT NUMBER | 2 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-03 | 1 | 38.8636 | 1.2 | 5.7273 | 0.047727 | in2 to ft2 | 0 | 0
TIME | 16:40 | 2 | 44.5909 | 4.2 | 5.7273 | 0.16705 | 0.0069444 | 0 | 0
FIELD TEAM | JE JN | 3 | 50.3182 | 6.6 | 5.7273 | 0.2625 |  | 0.03 | 0.007875
STAFF GAGE (in) |  | 4 | 56.0455 | 8.64 | 5.7273 | 0.34364 |  | 0.057 | 0.019587
FLOW METER LEVEL (in) |  | 5 | 61.7727 | 11.4 | 5.7273 | 0.45341 |  | 0.065 | 0.029472
EVENT QUALIFIER | G | 6 | 67.5 | 12.6 | 5.7273 | 0.50114 |  | 0.04 | 0.020045
FIELD NOTES |  | 7 | 73.2273 | 12 | 5.7273 | 0.47727 |  | 0.035 | 0.016705
|  | 8 | 78.9545 | 12 | 5.7273 | 0.47727 |  | 0.044 | 0.021
|  | 9 | 84.6818 | 10.8 | 5.7273 | 0.42955 |  | 0 | 0
|  | 10 | 90.4091 | 7.8 | 5.7273 | 0.31023 |  | 0 | 0
|  | 11 | 96.1364 | 0 | 5.7273 | 0 |  | 0 | 0
[5 empty] | Total Area (ft2) | 3.4698 |  | Total Flow (CFS) | 0.11468
MOONSONG | Water Line Start (in) = | 24 | Section width= | 6 | inches | Stream Width (in)= | 66 | # of measurements | 11
EVENT NUMBER | 3 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-02 | 1 | 26.8636 | 7.2 | 6 | 0.3 | in2 to ft2 | 0 | 0
TIME | 14:35 | 2 | 32.5909 | 9 | 6 | 0.375 | 0.0069444 | 0 | 0
FIELD TEAM | AM JE | 3 | 38.3182 | 10.8 | 6 | 0.45 |  | 0.025 | 0.01125
STAFF GAGE (in) |  | 4 | 44.0455 | 10.8 | 6 | 0.45 |  | 0.117 | 0.05265
FLOW METER LEVEL (in) | 0.68 | 5 | 49.7727 | 12.6 | 6 | 0.525 |  | 0.112 | 0.0588
EVENT QUALIFIER | F | 6 | 55.5 | 12.6 | 6 | 0.525 |  | 0.071 | 0.037275
FIELD NOTES |  | 7 | 61.2273 | 9 | 6 | 0.375 |  | 0.117 | 0.043875
|  | 8 | 66.9545 | 7.2 | 6 | 0.3 |  | 0.045 | 0.0135
|  | 9 | 72.6818 | 4.8 | 6 | 0.2 |  | 0.005 | 0.001
|  | 10 | 78.4091 | 2.4 | 6 | 0.1 |  | 0 | 0
|  | 11 | 84.1364 | 1.2 | 6 | 0.05 |  | 0 | 0
[5 empty] | Total Area (ft2) | 3.65 |  | Total Flow (CFS) | 0.21835
MOONSONG | Water Line Start (in) = | 24 | Section width= | 6 | inches | Stream Width (in)= | 66 | # of measurements | 11
EVENT NUMBER | 4 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-02 | 1 | 26.8636 | 6.72 | 6 | 0.28 | in2 to ft2 | 0 | 0
TIME | 14:45 | 2 | 32.5909 | 9 | 6 | 0.375 | 0.0069444 | 0 | 0
FIELD TEAM | AM JE | 3 | 38.3182 | 12.6 | 6 | 0.525 |  | 0.053 | 0.027825
STAFF GAGE (in) |  | 4 | 44.0455 | 13.2 | 6 | 0.55 |  | 0.083 | 0.04565
FLOW METER LEVEL (in) | 0.68 | 5 | 49.7727 | 12.6 | 6 | 0.525 |  | 0.094 | 0.04935
EVENT QUALIFIER | F | 6 | 55.5 | 12 | 6 | 0.5 |  | 0.074 | 0.037
FIELD NOTES |  | 7 | 61.2273 | 9.6 | 6 | 0.4 |  | 0.092 | 0.0368
|  | 8 | 66.9545 | 7.2 | 6 | 0.3 |  | 0.037 | 0.0111
|  | 9 | 72.6818 | 4.8 | 6 | 0.2 |  | 0 | 0
|  | 10 | 78.4091 | 2.4 | 6 | 0.1 |  | 0 | 0
|  | 11 | 84.1364 | 0 | 6 | 0 |  | 0 | 0
[5 empty] | Total Area (ft2) | 3.755 |  | Total Flow (CFS) | 0.20772
MOONSONG | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 5 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 2.8636 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 8.5909 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 14.3182 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 20.0455 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 25.7727 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 31.5 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 37.2273 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 42.9545 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 48.6818 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 54.4091 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
MOONSONG | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 6 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 2.8636 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 8.5909 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 14.3182 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 20.0455 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 25.7727 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 31.5 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 37.2273 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 42.9545 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 48.6818 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 54.4091 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!

## Kit Carson
KIT CARSON | FLOW DATA - SUMMARY | [6 empty] | Color Codes
EVENT # | EVENT DATE | FLOW (CFS) | FLOW (GPM) | STAFF GAGE (in) | FLOW METER LEVEL (in) | GAGE EVENT QUALIFIER |  | Formula - Do NOT Input
1 | 2020-03-03 10:30 | 0.6989 | 313.6891 | 0 | 3.95 | F |  | INPUT Field Data
2 | 2020-03-03 11:00 | 0.69075 | 310.0311 | 0 | 3.95 | F |  | Event Qualifiers
3 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | E | Excellent - Channel is uniform; no obstructions
4 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | G | Good - relatively uniform channel; few obstructions in flow path
5 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | F | Fair - Irregular channel; multiple obstructions in flow path; non-laminar flow
6 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | P | Poor - Highly irregular channel; multiple obstructions limit ability to make required measurements
KIT CARSON | Water Line Start (in) = | 12 | Section width= | 6 | inches | Stream Width (in)= | 90 | # of measurements | 15
EVENT NUMBER | 1 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-03 | 1 | 15 | 8.4 | 6 | 0.35 | in2 to ft2 | 0 | 0
TIME | 10:30 | 2 | 21 | 15.6 | 6 | 0.65 | 0.0069444 | 0 | 0
FIELD TEAM | JE JN | 3 | 27 | 19.2 | 6 | 0.8 |  | 0 | 0
STAFF GAGE (in) |  | 4 | 33 | 18 | 6 | 0.75 |  | 0 | 0
FLOW METER LEVEL (in) |  | 5 | 39 | 18 | 6 | 0.75 |  | 0 | 0
EVENT QUALIFIER | F | 6 | 45 | 43.2 | 6 | 1.8 |  | 0 | 0
FIELD NOTES | Large boulders obstructing free flow and causing eddies. | 7 | 51 | 40.8 | 6 | 1.7 |  | 0 | 0
|  | 8 | 57 | 39.6 | 6 | 1.65 |  | 0 | 0
|  | 9 | 63 | 34.8 | 6 | 1.45 |  | 0.166 | 0.2407
|  | 10 | 69 | 33.6 | 6 | 1.4 |  | 0.126 | 0.1764
|  | 11 | 75 | 31.8 | 6 | 1.325 |  | 0.124 | 0.1643
|  | 12 | 81 | 30 | 6 | 1.25 |  | 0.094 | 0.1175
|  | 13 | 87 | 30 | 6 | 1.25 |  | 0 | 0
|  | 14 | 93 | 31.2 | 6 | 1.3 |  | 0 | 0
|  | 15 | 99 | 31.2 | 6 | 1.3 |  | 0 | 0
[5 empty] | Total Area (ft2) | 17.725 |  | Total Flow (CFS) | 0.6989
KIT CARSON | Water Line Start (in) = | 12 | Section width= | 6 | inches | Stream Width (in)= | 90 | # of measurements | 15
EVENT NUMBER | 2 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-03 | 1 | 15 | 6 | 6 | 0.25 | in2 to ft2 | 0 | 0
TIME | 11:00 | 2 | 21 | 19.2 | 6 | 0.8 | 0.0069444 | 0 | 0
FIELD TEAM | JE JN | 3 | 27 | 27.6 | 6 | 1.15 |  | 0 | 0
STAFF GAGE (in) |  | 4 | 33 | 18 | 6 | 0.75 |  | 0 | 0
FLOW METER LEVEL (in) |  | 5 | 39 | 17.4 | 6 | 0.725 |  | 0 | 0
EVENT QUALIFIER | F | 6 | 45 | 43.2 | 6 | 1.8 |  | 0.011 | 0.0198
FIELD NOTES |  | 7 | 51 | 42 | 6 | 1.75 |  | 0.012 | 0.021
|  | 8 | 57 | 39.6 | 6 | 1.65 |  | 0.037 | 0.06105
|  | 9 | 63 | 34.8 | 6 | 1.45 |  | 0.12 | 0.174
|  | 10 | 69 | 33.6 | 6 | 1.4 |  | 0.131 | 0.1834
|  | 11 | 75 | 31.2 | 6 | 1.3 |  | 0.155 | 0.2015
|  | 12 | 81 | 30 | 6 | 1.25 |  | 0.024 | 0.03
|  | 13 | 87 | 30.6 | 6 | 1.275 |  | 0 | 0
|  | 14 | 93 | 31.2 | 6 | 1.3 |  | 0 | 0
|  | 15 | 99 | 31.8 | 6 | 1.325 |  | 0 | 0
[5 empty] | Total Area (ft2) | 18.175 |  | Total Flow (CFS) | 0.69075
KIT CARSON | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 3 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
KIT CARSON | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 4 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
KIT CARSON | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 5 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
KIT CARSON | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 6 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!

## Felicita
FELICITA | FLOW DATA - SUMMARY | [6 empty] | Color Codes
EVENT # | EVENT DATE | FLOW (CFS) | FLOW (GPM) | STAFF GAGE (in) | FLOW METER LEVEL (in) | GAGE EVENT QUALIFIER |  | Formula - Do NOT Input
1 | 2020-03-03 12:30 | 0.26955 | 120.9828 | 0 | 0 | G |  | INPUT Field Data
2 | 2020-03-03 12:45 | 0.25978 | 116.6 | 0 | 0 | G |  | Event Qualifiers
3 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | E | Excellent - Channel is uniform; no obstructions
4 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | G | Good - relatively uniform channel; few obstructions in flow path
5 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | F | Fair - Irregular channel; multiple obstructions in flow path; non-laminar flow
6 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | P | Poor - Highly irregular channel; multiple obstructions limit ability to make required measurements
FELICITA | Water Line Start (in) = | 12 | Section width= | 6 | inches | Stream Width (in)= | 90 | # of measurements | 15
EVENT NUMBER | 1 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-03 | 1 | 15 | 3 | 6 | 0.125 | in2 to ft2 | 0 | 0
TIME | 12:30 | 2 | 21 | 1.8 | 6 | 0.075 | 0.0069444 | 0.001 | 7.5e-05
FIELD TEAM | JE JN | 3 | 27 | 3.6 | 6 | 0.15 |  | 0.072 | 0.0108
STAFF GAGE (in) |  | 4 | 33 | 9.6 | 6 | 0.4 |  | 0.089 | 0.0356
FLOW METER LEVEL (in) |  | 5 | 39 | 6.6 | 6 | 0.275 |  | 0.164 | 0.0451
EVENT QUALIFIER | G | 6 | 45 | 8.4 | 6 | 0.35 |  | 0.064 | 0.0224
FIELD NOTES |  | 7 | 51 | 9 | 6 | 0.375 |  | 0.071 | 0.026625
|  | 8 | 57 | 9 | 6 | 0.375 |  | 0.076 | 0.0285
|  | 9 | 63 | 8.4 | 6 | 0.35 |  | 0.043 | 0.01505
|  | 10 | 69 | 7.8 | 6 | 0.325 |  | 0 | 0
|  | 11 | 75 | 8.4 | 6 | 0.35 |  | 0.079 | 0.02765
|  | 12 | 81 | 8.4 | 6 | 0.35 |  | 0.109 | 0.03815
|  | 13 | 87 | 5.4 | 6 | 0.225 |  | 0.072 | 0.0162
|  | 14 | 93 | 2.4 | 6 | 0.1 |  | 0.034 | 0.0034
|  | 15 | 99 | 1.2 | 6 | 0.05 |  | 0 | 0
[5 empty] | Total Area (ft2) | 3.875 |  | Total Flow (CFS) | 0.26955
FELICITA | Water Line Start (in) = | 12 | Section width= | 6 | inches | Stream Width (in)= | 90 | # of measurements | 15
EVENT NUMBER | 2 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-03 | 1 | 15 | 3 | 6 | 0.125 | in2 to ft2 | 0.013 | 0.001625
TIME | 12:45 | 2 | 21 | 3.3 | 6 | 0.1375 | 0.0069444 | 0.01 | 0.001375
FIELD TEAM | JE JN | 3 | 27 | 4.68 | 6 | 0.195 |  | 0.079 | 0.015405
STAFF GAGE (in) |  | 4 | 33 | 9.6 | 6 | 0.4 |  | 0.093 | 0.0372
FLOW METER LEVEL (in) |  | 5 | 39 | 6.6 | 6 | 0.275 |  | 0.116 | 0.0319
EVENT QUALIFIER | G | 6 | 45 | 6.24 | 6 | 0.26 |  | 0.117 | 0.03042
FIELD NOTES |  | 7 | 51 | 8.64 | 6 | 0.36 |  | 0.104 | 0.03744
|  | 8 | 57 | 8.76 | 6 | 0.365 |  | 0.078 | 0.02847
|  | 9 | 63 | 8.76 | 6 | 0.365 |  | 0.015 | 0.005475
|  | 10 | 69 | 8.4 | 6 | 0.35 |  | 0 | 0
|  | 11 | 75 | 9 | 6 | 0.375 |  | 0.057 | 0.021375
|  | 12 | 81 | 8.4 | 6 | 0.35 |  | 0.106 | 0.0371
|  | 13 | 87 | 5.4 | 6 | 0.225 |  | 0.02 | 0.0045
|  | 14 | 93 | 3 | 6 | 0.125 |  | 0.06 | 0.0075
|  | 15 | 99 | 1.2 | 6 | 0.05 |  | 0 | 0
[5 empty] | Total Area (ft2) | 3.9575 |  | Total Flow (CFS) | 0.25978
FELICITA | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 3 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
FELICITA | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 4 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
FELICITA | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 5 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
FELICITA | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 6 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!

## Green Valley(N)
GREEN VALLEY | FLOW DATA - SUMMARY | [6 empty] | Color Codes
EVENT # | EVENT DATE | FLOW (CFS) | FLOW (GPM) | STAFF GAGE (in) | FLOW METER LEVEL (in) | GAGE EVENT QUALIFIER |  | Formula - Do NOT Input
1 | 2020-03-02 16:00 | 0.32731 | 146.909 | 0 | 0 | G |  | INPUT Field Data
2 | 2020-03-03 15:45 | 0.3098 | 139.0483 | 0 | 0 | G |  | Event Qualifiers
3 | 2020-03-03 16:00 | 0.23125 | 103.7925 | 0 | 0 | G | E | Excellent - Channel is uniform; no obstructions
4 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | G | Good - relatively uniform channel; few obstructions in flow path
5 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | F | Fair - Irregular channel; multiple obstructions in flow path; non-laminar flow
6 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | P | Poor - Highly irregular channel; multiple obstructions limit ability to make required measurements
GREEN VALLEY | Water Line Start (in) = | 72 | Section width= | 5.7273 | inches | Stream Width (in)= | 63 | # of measurements | 11
EVENT NUMBER | 1 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-02 | 1 | 74.8636 | 0.6 | 5.7273 | 0.023864 | in2 to ft2 | 0.521 | 0.012433
TIME | 16:00 | 2 | 80.5909 | 1.2 | 5.7273 | 0.047727 | 0.0069444 | 0.56 | 0.026727
FIELD TEAM | AM JE | 3 | 86.3182 | 1.2 | 5.7273 | 0.047727 |  | 1.197 | 0.05713
STAFF GAGE (in) |  | 4 | 92.0455 | 1.2 | 5.7273 | 0.047727 |  | 1.166 | 0.05565
FLOW METER LEVEL (in) |  | 5 | 97.7727 | 1.2 | 5.7273 | 0.047727 |  | 1.215 | 0.057989
EVENT QUALIFIER | G | 6 | 103.5 | 1.2 | 5.7273 | 0.047727 |  | 1.04 | 0.049636
FIELD NOTES |  | 7 | 109.2273 | 1.2 | 5.7273 | 0.047727 |  | 1.047 | 0.04997
|  | 8 | 114.9545 | 1.2 | 5.7273 | 0.047727 |  | 0.183 | 0.0087341
|  | 9 | 120.6818 | 0.6 | 5.7273 | 0.023864 |  | 0.379 | 0.0090443
|  | 10 | 126.4091 | 0 | 5.7273 | 0 |  | 0 | 0
|  | 11 | 132.1364 | 0 | 5.7273 | 0 |  | 0 | 0
[5 empty] | Total Area (ft2) | 0.38182 |  | Total Flow (CFS) | 0.32731
GREEN VALLEY | Water Line Start (in) = | 12 | Section width= | 6 | inches | Stream Width (in)= | 60 | # of measurements | 10
EVENT NUMBER | 2 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-03 | 1 | 14.8636 | 1.2 | 6 | 0.05 | in2 to ft2 | 0.193 | 0.00965
TIME | 15:45 | 2 | 20.5909 | 1.2 | 6 | 0.05 | 0.0069444 | 0.458 | 0.0229
FIELD TEAM | JE JN | 3 | 26.3182 | 1.2 | 6 | 0.05 |  | 0.667 | 0.03335
STAFF GAGE (in) |  | 4 | 32.0455 | 1.2 | 6 | 0.05 |  | 1.004 | 0.0502
FLOW METER LEVEL (in) |  | 5 | 37.7727 | 1.8 | 6 | 0.075 |  | 0.949 | 0.071175
EVENT QUALIFIER | G | 6 | 43.5 | 1.8 | 6 | 0.075 |  | 0.775 | 0.058125
FIELD NOTES |  | 7 | 49.2273 | 1.2 | 6 | 0.05 |  | 0.688 | 0.0344
|  | 8 | 54.9545 | 1.2 | 6 | 0.05 |  | 0.581 | 0.02905
|  | 9 | 60.6818 | 0.6 | 6 | 0.025 |  | 0.038 | 0.00095
|  | 10 | 66.4091 | 0 | 6 | 0 |  | 0 | 0
[5 empty] | Total Area (ft2) | 0.475 |  | Total Flow (CFS) | 0.3098
GREEN VALLEY | Water Line Start (in) = | 12 | Section width= | 6 | inches | Stream Width (in)= | 60 | # of measurements | 10
EVENT NUMBER | 3 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-03 | 1 | 14.8636 | 1.2 | 6 | 0.05 | in2 to ft2 | 0.204 | 0.0102
TIME | 16:00 | 2 | 20.5909 | 1.2 | 6 | 0.05 | 0.0069444 | 0.267 | 0.01335
FIELD TEAM | JE JN | 3 | 26.3182 | 1.2 | 6 | 0.05 |  | 0.688 | 0.0344
STAFF GAGE (in) |  | 4 | 32.0455 | 1.2 | 6 | 0.05 |  | 0.72 | 0.036
FLOW METER LEVEL (in) |  | 5 | 37.7727 | 1.2 | 6 | 0.05 |  | 0.777 | 0.03885
EVENT QUALIFIER | G | 6 | 43.5 | 1.2 | 6 | 0.05 |  | 0.683 | 0.03415
FIELD NOTES |  | 7 | 49.2273 | 1.2 | 6 | 0.05 |  | 0.773 | 0.03865
|  | 8 | 54.9545 | 0.6 | 6 | 0.025 |  | 0.456 | 0.0114
|  | 9 | 60.6818 | 0.6 | 6 | 0.025 |  | 0.57 | 0.01425
|  | 10 | 66.4091 | 0 | 6 | 0 |  | 0 | 0
[5 empty] | Total Area (ft2) | 0.4 |  | Total Flow (CFS) | 0.23125
GREEN VALLEY | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 4 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 2.8636 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 8.5909 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 14.3182 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 20.0455 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 25.7727 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 31.5 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 37.2273 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 42.9545 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 48.6818 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 54.4091 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
GREEN VALLEY | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 5 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 2.8636 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 8.5909 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 14.3182 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 20.0455 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 25.7727 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 31.5 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 37.2273 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 42.9545 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 48.6818 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 54.4091 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
GREEN VALLEY | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 6 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 2.8636 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 8.5909 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 14.3182 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 20.0455 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 25.7727 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 31.5 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 37.2273 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 42.9545 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 48.6818 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 54.4091 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!

## Green Valley(S)
GREEN VALLEY | FLOW DATA - SUMMARY | [6 empty] | Color Codes
EVENT # | EVENT DATE | FLOW (CFS) | FLOW (GPM) | STAFF GAGE (in) | FLOW METER LEVEL (in) | GAGE EVENT QUALIFIER |  | Formula - Do NOT Input
1 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | G |  | INPUT Field Data
2 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | G |  | Event Qualifiers
3 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | G | E | Excellent - Channel is uniform; no obstructions
4 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | G | Good - relatively uniform channel; few obstructions in flow path
5 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | F | Fair - Irregular channel; multiple obstructions in flow path; non-laminar flow
6 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | P | Poor - Highly irregular channel; multiple obstructions limit ability to make required measurements
GREEN VALLEY | Water Line Start (in) = |  | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 1 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER | G | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 11 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
GREEN VALLEY | Water Line Start (in) = |  | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 2 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! | 1.2 | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! | 1.2 | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! | 1.2 | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! | 1.2 | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! | 1.8 | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER | G | 6 | #DIV/0! | 1.8 | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! | 1.2 | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! | 1.2 | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! | 0.6 | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! | 0 | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
GREEN VALLEY | Water Line Start (in) = |  | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 3 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER | G | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
GREEN VALLEY | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 4 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
GREEN VALLEY | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 5 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
GREEN VALLEY | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 6 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!

## DelDios
DEL DIOS | FLOW DATA - SUMMARY | [6 empty] | Color Codes
EVENT # | EVENT DATE | FLOW (CFS) | FLOW (GPM) | STAFF GAGE (in) | FLOW METER LEVEL (in) | GAGE EVENT QUALIFIER |  | Formula - Do NOT Input
1 | 2020-03-03 13:55 | 0.0597 | 26.7953 | 0 | 0 | E |  | INPUT Field Data
2 | 2020-03-03 14:00 | 0.0568 | 25.4937 | 0 | 0 | E |  | Event Qualifiers
3 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | E | Excellent - Channel is uniform; no obstructions
4 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | G | Good - relatively uniform channel; few obstructions in flow path
5 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | F | Fair - Irregular channel; multiple obstructions in flow path; non-laminar flow
6 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | P | Poor - Highly irregular channel; multiple obstructions limit ability to make required measurements
DEL DIOS | Water Line Start (in) = | 24 | Section width= | 6 | inches | Stream Width (in)= | 42 | # of measurements | 7
EVENT NUMBER | 1 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-03 | 1 | 27 | 1.2 | 6 | 0.05 | in2 to ft2 | 0.035 | 0.00175
TIME | 13:55 | 2 | 33 | 1.8 | 6 | 0.075 | 0.0069444 | 0.126 | 0.00945
FIELD TEAM | JE JN | 3 | 39 | 6 | 6 | 0.25 |  | 0.096 | 0.024
STAFF GAGE (in) |  | 4 | 45 | 6 | 6 | 0.25 |  | 0.082 | 0.0205
FLOW METER LEVEL (in) |  | 5 | 51 | 6 | 6 | 0.25 |  | 0.016 | 0.004
EVENT QUALIFIER | E | 6 | 57 | 2.4 | 6 | 0.1 |  | 0 | 0
FIELD NOTES |  | 7 | 63 | 1.2 | 6 | 0.05 |  | 0 | 0
|  | 8 | 69 |  | 6 | 0 |  |  | 0
|  | 9 | 75 |  | 6 | 0 |  |  | 0
|  | 10 | 81 |  | 6 | 0 |  |  | 0
[5 empty] | Total Area (ft2) | 1.025 |  | Total Flow (CFS) | 0.0597
DEL DIOS | Water Line Start (in) = | 24 | Section width= | 6 | inches | Stream Width (in)= | 42 | # of measurements | 7
EVENT NUMBER | 2 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-03 | 1 | 27 | 1.2 | 6 | 0.05 | in2 to ft2 | 0.044 | 0.0022
TIME | 14:00 | 2 | 33 | 2.4 | 6 | 0.1 | 0.0069444 | 0.161 | 0.0161
FIELD TEAM | JE JN | 3 | 39 | 6 | 6 | 0.25 |  | 0.079 | 0.01975
STAFF GAGE (in) |  | 4 | 45 | 6 | 6 | 0.25 |  | 0.058 | 0.0145
FLOW METER LEVEL (in) |  | 5 | 51 | 6 | 6 | 0.25 |  | 0.017 | 0.00425
EVENT QUALIFIER | E | 6 | 57 | 2.4 | 6 | 0.1 |  | 0 | 0
FIELD NOTES |  | 7 | 63 | 1.2 | 6 | 0.05 |  | 0 | 0
|  | 8 | 69 |  | 6 | 0 |  |  | 0
|  | 9 | 75 |  | 6 | 0 |  |  | 0
|  | 10 | 81 |  | 6 | 0 |  |  | 0
[5 empty] | Total Area (ft2) | 1.05 |  | Total Flow (CFS) | 0.0568
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 3 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 4 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 5 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 6 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!

## Cloverdale
DEL DIOS | FLOW DATA - SUMMARY | [6 empty] | Color Codes
EVENT # | EVENT DATE | FLOW (CFS) | FLOW (GPM) | STAFF GAGE (in) | FLOW METER LEVEL (in) | GAGE EVENT QUALIFIER |  | Formula - Do NOT Input
1 | 2020-03-03 14:50 | 0.052125 | 23.3954 | 0 | 0 | G |  | INPUT Field Data
2 | 2020-03-03 15:00 | 0.046045 | 20.6665 | 0 | 0 | G |  | Event Qualifiers
3 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | E | Excellent - Channel is uniform; no obstructions
4 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | G | Good - relatively uniform channel; few obstructions in flow path
5 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | F | Fair - Irregular channel; multiple obstructions in flow path; non-laminar flow
6 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | P | Poor - Highly irregular channel; multiple obstructions limit ability to make required measurements
DEL DIOS | Water Line Start (in) = | 12 | Section width= | 6 | inches | Stream Width (in)= | 66 | # of measurements | 11
EVENT NUMBER | 1 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-03 | 1 | 15 | 1.2 | 6 | 0.05 | in2 to ft2 | 0 | 0
TIME | 14:50 | 2 | 21 | 1.8 | 6 | 0.075 | 0.0069444 | 0.012 | 0.0009
FIELD TEAM | JE JN | 3 | 27 | 1.8 | 6 | 0.075 |  | 0.006 | 0.00045
STAFF GAGE (in) |  | 4 | 33 | 2.64 | 6 | 0.11 |  | 0.075 | 0.00825
FLOW METER LEVEL (in) |  | 5 | 39 | 3 | 6 | 0.125 |  | 0.083 | 0.010375
EVENT QUALIFIER | G | 6 | 45 | 3 | 6 | 0.125 |  | 0.104 | 0.013
FIELD NOTES |  | 7 | 51 | 3.6 | 6 | 0.15 |  | 0.082 | 0.0123
|  | 8 | 57 | 3 | 6 | 0.125 |  | 0.05 | 0.00625
|  | 9 | 63 | 2.4 | 6 | 0.1 |  | 0.006 | 0.0006
|  | 10 | 69 | 2.4 | 6 | 0.1 |  | 0 | 0
|  | 11 | 75 | 1.2 | 6 | 0.05 |  | 0 | 0
[5 empty] | Total Area (ft2) | 1.085 |  | Total Flow (CFS) | 0.052125
DEL DIOS | Water Line Start (in) = | 12 | Section width= | 6 | inches | Stream Width (in)= | 66 | # of measurements | 11
EVENT NUMBER | 2 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE | 2020-03-03 | 1 | 15 | 1.2 | 6 | 0.05 | in2 to ft2 | 0 | 0
TIME | 15:00 | 2 | 21 | 3 | 6 | 0.125 | 0.0069444 | 0.013 | 0.001625
FIELD TEAM | JE JN | 3 | 27 | 2.4 | 6 | 0.1 |  | 0 | 0
STAFF GAGE (in) |  | 4 | 33 | 2.64 | 6 | 0.11 |  | 0.072 | 0.00792
FLOW METER LEVEL (in) |  | 5 | 39 | 3 | 6 | 0.125 |  | 0.101 | 0.012625
EVENT QUALIFIER | G | 6 | 45 | 3 | 6 | 0.125 |  | 0.034 | 0.00425
FIELD NOTES |  | 7 | 51 | 3 | 6 | 0.125 |  | 0.037 | 0.004625
|  | 8 | 57 | 3 | 6 | 0.125 |  | 0.12 | 0.015
|  | 9 | 63 | 2.64 | 6 | 0.11 |  | 0 | 0
|  | 10 | 69 | 1.8 | 6 | 0.075 |  | 0 | 0
|  | 11 | 75 | 1.2 | 6 | 0.05 |  | 0 | 0
[5 empty] | Total Area (ft2) | 1.12 |  | Total Flow (CFS) | 0.046045
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 3 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 4 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 5 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 6 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | 3 |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | 9 |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | 15 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | 21 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | 27 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | 33 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | 39 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | 45 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | 51 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | 57 |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!

## Guejito
DEL DIOS | FLOW DATA - SUMMARY | [6 empty] | Color Codes
EVENT # | EVENT DATE | FLOW (CFS) | FLOW (GPM) | STAFF GAGE (in) | FLOW METER LEVEL (in) | GAGE EVENT QUALIFIER |  | Formula - Do NOT Input
1 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  | INPUT Field Data
2 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  | Event Qualifiers
3 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | E | Excellent - Channel is uniform; no obstructions
4 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | G | Good - relatively uniform channel; few obstructions in flow path
5 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | F | Fair - Irregular channel; multiple obstructions in flow path; non-laminar flow
6 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | P | Poor - Highly irregular channel; multiple obstructions limit ability to make required measurements
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 1 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 2 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 3 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 4 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 5 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 6 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!

## Sycamore
DEL DIOS | FLOW DATA - SUMMARY | [6 empty] | Color Codes
EVENT # | EVENT DATE | FLOW (CFS) | FLOW (GPM) | STAFF GAGE (in) | FLOW METER LEVEL (in) | GAGE EVENT QUALIFIER |  | Formula - Do NOT Input
1 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  | INPUT Field Data
2 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  | Event Qualifiers
3 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | E | Excellent - Channel is uniform; no obstructions
4 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | G | Good - relatively uniform channel; few obstructions in flow path
5 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | F | Fair - Irregular channel; multiple obstructions in flow path; non-laminar flow
6 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | P | Poor - Highly irregular channel; multiple obstructions limit ability to make required measurements
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 1 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 2 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 3 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 4 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 5 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 6 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!

## San Dieguito
DEL DIOS | FLOW DATA - SUMMARY | [6 empty] | Color Codes
EVENT # | EVENT DATE | FLOW (CFS) | FLOW (GPM) | STAFF GAGE (in) | FLOW METER LEVEL (in) | GAGE EVENT QUALIFIER |  | Formula - Do NOT Input
1 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  | INPUT Field Data
2 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 |  | Event Qualifiers
3 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | E | Excellent - Channel is uniform; no obstructions
4 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | G | Good - relatively uniform channel; few obstructions in flow path
5 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | F | Fair - Irregular channel; multiple obstructions in flow path; non-laminar flow
6 | 0:00 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | P | Poor - Highly irregular channel; multiple obstructions limit ability to make required measurements
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 1 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 2 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 3 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 4 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 5 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!
DEL DIOS | Water Line Start (in) = | 0 | Section width= | #DIV/0! | inches | Stream Width (in)= |  | # of measurements
EVENT NUMBER | 6 | Section No. | Section Midpoint (in) | Depth (in) | Section Unit (in) | Area (ft2)* | Conversion | Velocity (fps) | Flow (cfs)
DATE |  | 1 | #DIV/0! |  | #DIV/0! | #DIV/0! | in2 to ft2 |  | #DIV/0!
TIME |  | 2 | #DIV/0! |  | #DIV/0! | #DIV/0! | 0.0069444 |  | #DIV/0!
FIELD TEAM |  | 3 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
STAFF GAGE (in) |  | 4 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FLOW METER LEVEL (in) |  | 5 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
EVENT QUALIFIER |  | 6 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
FIELD NOTES |  | 7 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 8 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 9 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
|  | 10 | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
[5 empty] | Total Area (ft2) | #DIV/0! |  | Total Flow (CFS) | #DIV/0!

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only