## Creeks
[8 empty] | 2020 |  |  |  | 2021
Creek Site | Predicted Rainfall total (in) | Predicted Stage height (in) | Predicted Peak Flow (cfs) | min between samples at peak flow | Pacing (cf) | 60% of Pacing (cf) | 60% Pacing, rounded (cfs) | WW1 pacing (1.05" rainfall | WW2 pacing (0.89" rainfall) | WW3 Pacing (1.80" rainfall) | WW3.2 Pacing (3.53" rainfall) | WW1 Pacing (2" forecast) Ended up only getting 1.11"-1.46" and it was mostly steady rain in the first 3 hours and very few brief intense blasts later in the event | WW2 Pacing (0.5-0.7" forecast) ended up being 0.29-0.35" | WW3 (1-1.5" forecast) EC: 1.5" GFS: 0.9" actual: 0.89" at Hodges, 1.2" at RB and Escon. gauges
Del Dios | 0.5" | 8.5308 | 3 | 5 | 900 | 540 |  | 5,000 >> 625 | 1000 | 1,000 >> 2,000 | 12000 | 8000 (didn't change but this was too high. Only got 15 aliquots and 12+min apart at peak flow 12cfs. It peaked quickly so didn't get many aliquots at peak flow. Need to shoot for like 3-5min btw aliquots at peakflow) | 1,000 >>500>> 250 >> 500 forecast was way off in the beginning, ended up getting the rain in the end. This pacing was good , 40 ali on 240 then 44 on 500 | 1,500 >> 3,000
| 1" | 10.5354 | 5.25 | 5 | 1575 | 945
| 1.5" | 12.54 | 8.25 | 5 | 2475 | 1485
| 2" | 14.5446 | 12.25 | 5 | 3675 | 2205
| 2.5" | 16.5492 | 17 | 5 | 5100 | 3060
| 3" | 18.5538 | 22.75 | 5 | 6825 | 4095
Felicita | 0.5" | 10.9534 | 17.9934 | 10 | 10796.0621 | 6477.6373 |  | 13000 | 10,000 >> 30,000 | 20000 | 80,000 >> 320,000 | 70,000(changed before it sampled, we got nervous)>>25,000 (too low, every 4min at 98cfs)>>75,000 (this was ok, every 15min at 98 cfs; could have been lower like 50-60,000cf) | 2,500 >> 1,000 >>2,000 started low, lowered it bc looked like rain missed, then had to go back up | 25,000 (will prob double at some point) >> 12,000 (3 ali) >> 6,000>>12,000
| 1" | 14.4465 | 31.6074 | 10 | 18964.4499 | 11378.6699
| 1.5" | 17.9396 | 52.2219 | 10 | 31333.1558 | 18799.8935
| 2" | 21.4327 | 96.8588 | 10 | 58115.2864 | 34869.1718
| 2.5" | 24.9258 | 135.8579 | 10 | 81514.7536 | 48908.8521
| 3" | 28.4189 | 177.8911 | 10 | 106734.6619 | 64040.7971
Kit Carson | 0.5" | 12.1629 | 20.5 | 15 | 18450 | 11070 |  | 22,000 >> 88000 | 22,000 >> 66,000 | 60,000 >> 120,000 | 150,000 >> 600,000 (or more?) | 60000 | 15,000 dropped to 5,000 at start >> 2,500 >> 5,000 | 60,000 flows for a long time so keeping at W1 pacing >>30,000 (1ali)>>15,000>>30,000
| 1" | 17.9224 | 42.25 | 15 | 38025 | 22815
| 1.5" | 23.6819 | 75.25 | 15 | 67725 | 40635
| 2" | 29.4414 | 102.25 | 15 | 92025 | 55215
| 2.5" | 35.2009 | 151.25 | 15 | 136125 | 81675
| 3" | 40.9604 | 251.25 | 15 | 226125 | 135675
San Dieguito | 0.5" | *** | *** | 10 | #VALUE! | #VALUE! |  | *** | 1,000 >> 5,000 | 30000 | 600,000 >> 2.4M (or more?) | 1,000 (shooting low if there's flow) | 1,000 (may not flow) Didn't flow | 1,000 (may not flow)
| 1" | 8.2416 | 7.5 | 10 | 4500 | 2700
| 1.5" | 16.6546 | 29 | 10 | 17400 | 10440
| 2" | 25.0676 | 99 | 10 | 59400 | 35640
| 2.5" | 33.4806 | 400 | 10 | 240000 | 144000
| 3" | 41.8936 | 920 | 10 | 552000 | 331200
Moonsong | 0.5" | 15.548 | 30.9217 | 10 | 18553.0405 | 11131.8243 |  | 33000 | 30000 | 50,000 >> 100,000 | 240,000 >> 720,000 | 45,000 (was 60); 45,000 worked pretty well, max sampling rate every 8 min at 95cfs; could have been a little lower to get more samples but not bad | 15,000 >> 8,000 >> 4,000 | 35,000 (slightly under W1 pacing) >> 18,000 at start>>36,000
| 1" | 19.5209 | 65.0217 | 10 | 39013.0407 | 23407.8244
| 1.5" | 23.4938 | 110.0217 | 10 | 66013.0384 | 39607.823
| 2" | 27.4668 | 160.9217 | 10 | 96553.0439 | 57931.8263
| 2.5" | 31.4398 | 251.8217 | 10 | 151093.0402 | 90655.8241
| 3" | 35.4127 | 421.8217 | 10 | 253093.0402 | 151855.8241
Green Valley | 0.5" | 15.6694 | 40 | 10 | 24000 | 14400 |  | 44000 | 40000 | 45000 >> 90,000 | 90,000 >> 360,000 (or more?) | 45000; pretty good, was down to 7 min between samples at peak flow | 20,000 >> 10,000 | 45,000 (same as W1, might be on low side)
| 1" | 19.0728 | 57.5 | 10 | 34500 | 20700
| 1.5" | 22.4762 | 80 | 10 | 48000 | 28800
| 2" | 25.8796 | 100 | 10 | 60000 | 36000
| 2.5" | 29.283 | 130 | 10 | 78000 | 46800
| 3" | 32.6864 | 170 | 10 | 102000 | 61200
Cloverdale | 0.5" | 17.6125 | 3.4416 | 10 | 2064.9851 | 1238.9911 |  | 12,000 >> 48,000 | 25,000 >> 75,000 | 100,000 >> 200,000 | 1M >> time | 3,000 (rating curve is revised way down)>> 1,000 (this was kind of low, ended up filling the bottle. It just flows forever) | 1,500 let's start low, rises slow and flows forever) Didn't flow | 2,000>>4,000>>8,000
| 1" | 23.778 | 8.9828 | 10 | 5389.6697 | 3233.8018
| 1.5" | 29.9435 | 16.2827 | 10 | 9769.6223 | 5861.7734
| 2" | 36.109 | 28.4665 | 10 | 17079.9147 | 10247.9488
| 2.5" | 42.2745 | 47.1922 | 10 | 28315.3393 | 16989.2036
| 3" | 48.44 | 68.3839 | 10 | 41030.3168 | 24618.1901
Guejito | 0.5" | *** | *** | 10 | #VALUE! | #VALUE! |  | *** | *** | 2,000 >> 50,000 | 100,000 >> 300,000 | 1,000 (shooting way low if there's flow) | 1000 Didn't flow | 1,000 (may not flow)
| 1" | 6.886 | 2.5 | 10 | 1500 | 900
| 1.5" | 14.735 | 33 | 10 | 19800 | 11880
| 2" | 22.584 | 116 | 10 | 69600 | 41760
| 2.5" | 30.433 | 246 | 10 | 147600 | 88560
| 3" | 38.282 | 421 | 10 | 252600 | 151560
Sycamore | 0.5" | 6.8573 | 0.75 | 10 | 450 | 270 |  | *** | 1,000 >> 4,000 | 8000 >> 16,000 | 48,000 >> 768,000 (or more?) | 4,000 (shooting low, might not be flow)>>500 in beginning of storm>>2,500 (this ended up being pretty good) | 1,000 (shooting low just in case) Didn't flow | 2,500>>500>>20>>80>>320
| 1" | 13.2028 | 5.75 | 10 | 3450 | 2070
| 1.5" | 19.5483 | 14.5 | 10 | 8700 | 5220
| 2" | 25.8938 | 28.5 | 10 | 17100 | 10260
| 2.5" | 32.2393 | 54 | 10 | 32400 | 19440
| 3" | 38.5848 | 95 | 10 | 57000 | 34200
Note: pacings estimates based on sampling frequency of 10 minute intervals during peak flow

## Outfalls
Bottle volume (L) |  | 20 |  |  | =pacing estimate
Aliquot volume (mL) |  | 250 |  |  | =modify
Maximum number of aliquots |  | 80 |  |  | =JN WW3 pacing estimate
Target number of aliquots |  | 65
| These are based on 950 data, not sure how representative they are of PT flows | [8 empty] | 2020 | [5 empty] | 2021
Site | Predicted Rainfall | Predicted Total Storm Flow1 |  | Predicted Peak Flow1 |  | Total Stormflow based pacing2 |  | Peak Stormflow based pacing3 |  | WW1 Pacing (1.05" rainfall) |  | WW2 Pacing (0.89" rainfall) |  | WW3.1 Pacing (1.8" rainfall) |  | WW1 Pacing (2" forecast) Ended up only getting 1.11"-1.46" and it was mostly steady rain in the first 3 hours and very few brief intense blasts later in the event |  |  | WW2 (0.5-0.8" forecast) |  | ended up only getting like 0.29-0.35" dropped pacings at start | WW3 (1-1.5" forecast) EC: 1.5" GFS: 0.9"
| in | cf | gal | cfs | gpm | cf | gal | cf | gal | cf | gal | cf | gal | cf | gal | cf | gal | NOTES | cf | gal | Notes | cf | gal | Notes
HDG101-El Ku | 0.5 | 5641.5 | 42201.3536 | 1.1656 | 523.1367 | 86.7923 | 649.2516 | 349.665 | 2615.676 |  | 4000 |  | 2,500 >> 10,000 |  | 5000 |  | 10000 | PT is reading higher levels, could give much higher flow readings, might want to go on the higher end. 10,000 was perfect, 4min between samples at peak and around 50 aliquots over the storm |  | 2,500 >> 1,500 before started sampling | Rain didn't fill in til way later. Had to lower pacing |  | 10000 >>5,000>>10,000 | going with what we used for WW1. Could maybe go lower but it was perfect for W1 so going with it
| 1 | 14369.5 | 107491.3321 | 2.1843 | 980.3848 | 221.0692 | 1653.7128 | 655.29 | 4901.91
| 1.5 | 23097.5 | 172781.3107 | 3.2031 | 1437.6329 | 355.3462 | 2658.174 | 960.915 | 7188.1439
| 2 | 31825.5 | 238071.2893 | 4.2218 | 1894.881 | 489.6231 | 3662.6352 | 1266.54 | 9474.3778
| 2.5 | 40553.5 | 303361.2678 | 5.2405 | 2352.1292 | 623.9 | 4667.0964 | 1572.165 | 11760.6117
| 3 | 49281.5 | 368651.2464 | 6.2593 | 2809.3773 | 758.1769 | 5671.5576 | 1877.79 | 14046.8457
HDG102-Via Rancho | 0.5 | 51347.2 | 384103.7565 | 9.0676 | 4069.8336 | 789.9569 | 5909.2886 | 2720.28 | 20349.1089 | 4000 |  | 2500 |  | 5000 |  | 15000 |  | PT is reading higher levels, could give much higher flow readings, might want to go on the higher end; This ended up being wayyyyy too high. 21min between aliquots at peak flow and peaks didn't last long. Should have been like 4-5,000 cf pacing | 2500 |  | Pacing was ok, got 27 aliquots 7 min apart. Could have been lower but storm was pretty weak. | 5000 |  | WW1 15k was too high, 2,500 prob too low for this size event
| 1 | 100838.2 | 754322.1719 | 13.6392 | 6121.7162 | 1551.3569 | 11604.9565 | 4091.76 | 30608.4925
| 1.5 | 150329.2 | 1124540.5872 | 18.2108 | 8173.5989 | 2312.7569 | 17300.6244 | 5463.24 | 40867.8761
| 2 | 199820.2 | 1494759.0025 | 22.7824 | 10225.4815 | 3074.1569 | 22996.2923 | 6834.72 | 51127.2597
| 2.5 | 249311.2 | 1864977.4178 | 27.354 | 12277.3642 | 3835.5569 | 28691.9603 | 8206.2 | 61386.6432
| 3 | 298802.2 | 2235195.8331 | 31.9256 | 14329.2469 | 4596.9569 | 34387.6282 | 9577.68 | 71646.0268
DW0317-Tazon | 0.5 | 8561.22 | 64042.3774 | 2.3073 | 1035.6137 | 131.7111 | 985.2673 | 692.205 | 5178.0533 |  | 10,000 (issues during WW, this was revised down) |  | 1,000 >> 4,000 |  | 2000 >> 20000 |  | 20000 | PT and 950 are fairly close, PT a bit higher. Some really high spikes in level data could cause very high flows. Got bad data from PT (negative) so switched to 950 for pacing. Based on peak flow rate x 5min this was perfect, just peaks are short-lived so need to lower pacing to actually get plenty of aliquots |  | 5,000 >> 2,500 at start | Pacing was good. Very close to sampling every 1-2 min but peaks were short-lived so ok. 27 aliquots. Used 950 for pacing |  | 5000>>10,000 | Might be too low but peaks are so short
| 1 | 16432.72 | 122925.2906 | 4.9292 | 2212.3852 | 252.8111 | 1891.1583 | 1478.76 | 11061.8938
| 1.5 | 24304.22 | 181808.2038 | 7.551 | 3389.1566 | 373.9111 | 2797.0493 | 2265.315 | 16945.7342
| 2 | 32175.72 | 240691.117 | 10.1729 | 4565.9281 | 495.0111 | 3702.9403 | 3051.87 | 22829.5746
| 2.5 | 40047.22 | 299574.0302 | 12.7947 | 5742.6996 | 616.1111 | 4608.8312 | 3838.425 | 28713.415
| 3 | 47918.72 | 358456.9433 | 15.4166 | 6919.4711 | 737.2111 | 5514.7222 | 4624.98 | 34597.2554
DW0011-Bernardo Plaza | 0.5 | 6316.94 | 47253.996 | 1.5668 | 703.2308 | 97.1837 | 726.9846 | 470.04 | 3516.1436 |  | 6000 (not sure if this one had issues, maybe changed) |  | 3000 |  | 4000 |  | 3000 | getting some high spikes and overall higher levels from PT, otherwise it follows the 950 flow pretty well. This pacing was perfect, 5min between samples |  | 2,000 >> 1,000 at start | Pacing was good. Peak at sample every 2 min but peaks were short-lived so ok. 21 aliquots. Used PT for pacing |  | 3000>>1,500(25ali)>>3000 | going with what we had for W1
| 1 | 13562.94 | 101457.8439 | 3.3705 | 1512.7899 | 208.6606 | 1560.8899 | 1011.15 | 7563.9278
| 1.5 | 20808.94 | 155661.6918 | 5.1742 | 2322.3491 | 320.1375 | 2394.7953 | 1552.26 | 11611.712
| 2 | 28054.94 | 209865.5398 | 6.9779 | 3131.9083 | 431.6145 | 3228.7006 | 2093.37 | 15659.4962
| 2.5 | 35300.94 | 264069.3877 | 8.7816 | 3941.4675 | 543.0914 | 4062.606 | 2634.48 | 19707.2803
| 3 | 42546.94 | 318273.2356 | 10.5853 | 4751.0267 | 654.5683 | 4896.5113 | 3175.59 | 23755.0645
DW914-Lomica | 0.5 | 81419 | 609056.4579 | 6.1638 | 2766.5138 | 1252.6 | 9370.0994 | 1849.14 | 13832.5288 |  | 24000 |  | 12,000 >> 36,000 |  | 30000 |  | 80000 | PT recorded pretty high levels (17inches 13,000 gpm, in past few storms, pushing this one way up). This worked out pretty well, 8min between samples at peak but I think the flow data was underreported. Had a few resets and missed some samples. Pacing was theoretically good |  | 20,000 (let's start low) | Stuck with initial pacing. It was low (2min samples at peak) but ended up ok. 39 aliquots |  | 70000 | Starting slightly lower than for W1
| 1 | 176533 | 1320558.6372 | 11.052 | 4960.4968 | 2715.8923 | 20316.2867 | 3315.6 | 24802.4121
| 1.5 | 271647 | 2032060.8164 | 15.9402 | 7154.4798 | 4179.1846 | 31262.4741 | 4782.06 | 35772.2955
| 2 | 366761 | 2743562.9957 | 20.8284 | 9348.4628 | 5642.4769 | 42208.6615 | 6248.52 | 46742.1788
| 2.5 | 461875 | 3455065.175 | 25.7166 | 11542.4459 | 7105.7692 | 53154.8488 | 7714.98 | 57712.0622
| 3 | 556989 | 4166567.3543 | 30.6048 | 13736.4289 | 8569.0615 | 64101.0362 | 9181.44 | 68681.9455
1. Based on linear rainfall/runoff relationship (see FLOW worksheets \\SDG1-FS1\SDShare\Projects-South\Environmental - Schaedler\5025-19-1029 City of SD TO 29 Hodges Nutrient Source Investigation\Data & Field Records\Flow data\MS4 Flow Processed)
2. Based on predicted stormflow total divided by target number of aliquots
3. Based on a minimum 5 minute time interval between aliquots during predicted peak flow

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only