## Creeks
[7 empty] | 2020 |  |  |  | 2021
Creek Site | Predicted Rainfall total (in) | Predicted Stage height (in) | Predicted Peak Flow (cfs) | Pacing (cf) | 60% of Pacing (cf) | 60% Pacing, rounded (cfs) | WW1 pacing (1.05" rainfall | WW2 pacing (0.89" rainfall) | WW3 Pacing (1.80" rainfall) | WW3.2 Pacing (3.53" rainfall) | WW1 Pacing (2" forecast)
Del Dios | 0.5" | 8.5308 | 3 | 1800 | 1080 |  | 5,000 >> 625 | 1000 | 1,000 >> 2,000 | 12000 | 8000
| 1" | 10.5354 | 5.25 | 3150 | 1890
| 1.5" | 12.54 | 8.25 | 4950 | 2970
| 2" | 14.5446 | 12.25 | 7350 | 4410
| 2.5" | 16.5492 | 17 | 10200 | 6120
| 3" | 18.5538 | 22.75 | 13650 | 8190
Felicita | 0.5" | 10.9534 | 17.9934 | 10796.0621 | 6477.6373 |  | 13000 | 10,000 >> 30,000 | 20000 | 80,000 >> 320,000 | 70000
| 1" | 14.4465 | 31.6074 | 18964.4499 | 11378.6699
| 1.5" | 17.9396 | 52.2219 | 31333.1558 | 18799.8935
| 2" | 21.4327 | 96.8588 | 58115.2864 | 34869.1718
| 2.5" | 24.9258 | 135.8579 | 81514.7536 | 48908.8521
| 3" | 28.4189 | 177.8911 | 106734.6619 | 64040.7971
Kit Carson | 0.5" | 12.1629 | 20.5 | 12300 | 7380 |  | 22,000 >> 88000 | 22,000 >> 66,000 | 60,000 >> 120,000 | 150,000 >> 600,000 (or more?) | 60000
| 1" | 17.9224 | 42.25 | 25350 | 15210
| 1.5" | 23.6819 | 75.25 | 45150 | 27090
| 2" | 29.4414 | 102.25 | 61350 | 36810
| 2.5" | 35.2009 | 151.25 | 90750 | 54450
| 3" | 40.9604 | 251.25 | 150750 | 90450
San Dieguito | 0.5" | *** | *** | *** | #VALUE! |  | *** | 1,000 >> 5,000 | 30000 | 600,000 >> 2.4M (or more?) | 1,000 (shooting low if there's flow)
| 1" | 8.2416 | 7.5 | 4500 | 2700
| 1.5" | 16.6546 | 29 | 17400 | 10440
| 2" | 25.0676 | 99 | 59400 | 35640
| 2.5" | 33.4806 | 400 | 240000 | 144000
| 3" | 41.8936 | 920 | 552000 | 331200
Moonsong | 0.5" | 15.548 | 30.9217 | 18553.0405 | 11131.8243 |  | 33000 | 30000 | 50,000 >> 100,000 | 240,000 >> 720,000 | 60000
| 1" | 19.5209 | 65.0217 | 39013.0407 | 23407.8244
| 1.5" | 23.4938 | 110.0217 | 66013.0384 | 39607.823
| 2" | 27.4668 | 160.9217 | 96553.0439 | 57931.8263
| 2.5" | 31.4398 | 251.8217 | 151093.0402 | 90655.8241
| 3" | 35.4127 | 421.8217 | 253093.0402 | 151855.8241
Green Valley | 0.5" | 15.6694 | 40 | 24000 | 14400 |  | 44000 | 40000 | 45000 >> 90,000 | 90,000 >> 360,000 (or more?) | 45000
| 1" | 19.0728 | 57.5 | 34500 | 20700
| 1.5" | 22.4762 | 80 | 48000 | 28800
| 2" | 25.8796 | 100 | 60000 | 36000
| 2.5" | 29.283 | 130 | 78000 | 46800
| 3" | 32.6864 | 170 | 102000 | 61200
Cloverdale | 0.5" | 17.6125 | 3.4416 | 2064.9851 | 1238.9911 |  | 12,000 >> 48,000 | 25,000 >> 75,000 | 100,000 >> 200,000 | 1M >> time | 3,000 (rating curve is revised way down)
| 1" | 23.778 | 8.9828 | 5389.6697 | 3233.8018
| 1.5" | 29.9435 | 16.2827 | 9769.6223 | 5861.7734
| 2" | 36.109 | 28.4665 | 17079.9147 | 10247.9488
| 2.5" | 42.2745 | 47.1922 | 28315.3393 | 16989.2036
| 3" | 48.44 | 68.3839 | 41030.3168 | 24618.1901
Guejito | 0.5" | *** | *** | *** | #VALUE! |  | *** | *** | 2,000 >> 50,000 | 100,000 >> 300,000 | 1,000 (shooting way low if there's flow)
| 1" | 6.886 | 2.5 | 1500 | 900
| 1.5" | 14.735 | 33 | 19800 | 11880
| 2" | 22.584 | 116 | 69600 | 41760
| 2.5" | 30.433 | 246 | 147600 | 88560
| 3" | 38.282 | 421 | 252600 | 151560
Sycamore | 0.5" | 6.8573 | 0.75 | 450 | 270 |  | *** | 1,000 >> 4,000 | 8000 >> 16,000 | 48,000 >> 768,000 (or more?) | 4,000 (shooting low, might not be flow)
| 1" | 13.2028 | 5.75 | 3450 | 2070
| 1.5" | 19.5483 | 14.5 | 8700 | 5220
| 2" | 25.8938 | 28.5 | 17100 | 10260
| 2.5" | 32.2393 | 54 | 32400 | 19440
| 3" | 38.5848 | 95 | 57000 | 34200
Note: pacings estimates based on sampling frequency of 10 minute intervals during peak flow

## Outfalls
Bottle volume (L) |  | 20 |  |  | =pacing estimate
Aliquot volume (mL) |  | 250 |  |  | =modify
Maximum number of aliquots |  | 80 |  |  | =JN WW3 pacing estimate
Target number of aliquots |  | 65
| These are based on 950 data, not sure how representative they are of PT flows | [8 empty] | 2020 | [5 empty] | 2021
Site | Predicted Rainfall | Predicted Total Storm Flow1 |  | Predicted Peak Flow1 |  | Total Stormflow based pacing2 |  | Peak Stormflow based pacing3 |  | WW1 Pacing (1.05" rainfall) |  | WW2 Pacing (0.89" rainfall) |  | WW3.1 Pacing (1.8" rainfall) |  | WW1 Pacing (2" forecast)
| in | cf | gal | cfs | gpm | cf | gal | cf | gal | cf | gal | cf | gal | cf | gal | cf | gal | NOTES
HDG101-El Ku | 0.5 | 5641.5 | 42201.3536 | 1.1656 | 523.1367 | 86.7923 | 649.2516 | 349.665 | 2615.676 |  | 4000 |  | 2,500 >> 10,000 |  | 5000 |  | 10000 | PT is reading higher levels, could give much higher flow readings, might want to go on the higher end
| 1 | 14369.5 | 107491.3321 | 2.1843 | 980.3848 | 221.0692 | 1653.7128 | 655.29 | 4901.91
| 1.5 | 23097.5 | 172781.3107 | 3.2031 | 1437.6329 | 355.3462 | 2658.174 | 960.915 | 7188.1439
| 2 | 31825.5 | 238071.2893 | 4.2218 | 1894.881 | 489.6231 | 3662.6352 | 1266.54 | 9474.3778
| 2.5 | 40553.5 | 303361.2678 | 5.2405 | 2352.1292 | 623.9 | 4667.0964 | 1572.165 | 11760.6117
| 3 | 49281.5 | 368651.2464 | 6.2593 | 2809.3773 | 758.1769 | 5671.5576 | 1877.79 | 14046.8457
HDG102-Via Rancho | 0.5 | 51347.2 | 384103.7565 | 9.0676 | 4069.8336 | 789.9569 | 5909.2886 | 2720.28 | 20349.1089 | 4000 |  | 2500 |  | 5000 |  | 15000 |  | PT is reading higher levels, could give much higher flow readings, might want to go on the higher end
| 1 | 100838.2 | 754322.1719 | 13.6392 | 6121.7162 | 1551.3569 | 11604.9565 | 4091.76 | 30608.4925
| 1.5 | 150329.2 | 1124540.5872 | 18.2108 | 8173.5989 | 2312.7569 | 17300.6244 | 5463.24 | 40867.8761
| 2 | 199820.2 | 1494759.0025 | 22.7824 | 10225.4815 | 3074.1569 | 22996.2923 | 6834.72 | 51127.2597
| 2.5 | 249311.2 | 1864977.4178 | 27.354 | 12277.3642 | 3835.5569 | 28691.9603 | 8206.2 | 61386.6432
| 3 | 298802.2 | 2235195.8331 | 31.9256 | 14329.2469 | 4596.9569 | 34387.6282 | 9577.68 | 71646.0268
DW0317-Tazon | 0.5 | 8561.22 | 64042.3774 | 2.3073 | 1035.6137 | 131.7111 | 985.2673 | 692.205 | 5178.0533 |  | 10,000 (issues during WW, this was revised down) |  | 1,000 >> 4,000 |  | 2000 - 20000 |  | 20000 | PT and 950 are fairly close, PT a bit higher. Some really high spikes in level data could cause very high flows
| 1 | 16432.72 | 122925.2906 | 4.9292 | 2212.3852 | 252.8111 | 1891.1583 | 1478.76 | 11061.8938
| 1.5 | 24304.22 | 181808.2038 | 7.551 | 3389.1566 | 373.9111 | 2797.0493 | 2265.315 | 16945.7342
| 2 | 32175.72 | 240691.117 | 10.1729 | 4565.9281 | 495.0111 | 3702.9403 | 3051.87 | 22829.5746
| 2.5 | 40047.22 | 299574.0302 | 12.7947 | 5742.6996 | 616.1111 | 4608.8312 | 3838.425 | 28713.415
| 3 | 47918.72 | 358456.9433 | 15.4166 | 6919.4711 | 737.2111 | 5514.7222 | 4624.98 | 34597.2554
DW0011-Bernardo Plaza | 0.5 | 6316.94 | 47253.996 | 1.5668 | 703.2308 | 97.1837 | 726.9846 | 470.04 | 3516.1436 |  | 6000 (not sure if this one had issues, maybe changed) |  | 3000 |  | 4000 |  | 3000 | getting some high spikes and overall higher levels from PT, otherwise it follows the 950 flow pretty well.
| 1 | 13562.94 | 101457.8439 | 3.3705 | 1512.7899 | 208.6606 | 1560.8899 | 1011.15 | 7563.9278
| 1.5 | 20808.94 | 155661.6918 | 5.1742 | 2322.3491 | 320.1375 | 2394.7953 | 1552.26 | 11611.712
| 2 | 28054.94 | 209865.5398 | 6.9779 | 3131.9083 | 431.6145 | 3228.7006 | 2093.37 | 15659.4962
| 2.5 | 35300.94 | 264069.3877 | 8.7816 | 3941.4675 | 543.0914 | 4062.606 | 2634.48 | 19707.2803
| 3 | 42546.94 | 318273.2356 | 10.5853 | 4751.0267 | 654.5683 | 4896.5113 | 3175.59 | 23755.0645
DW914-Lomica | 0.5 | 81419 | 609056.4579 | 6.1638 | 2766.5138 | 1252.6 | 9370.0994 | 1849.14 | 13832.5288 |  | 24000 |  | 12,000 >> 36,000 |  | 30000 |  | 80000 | PT recorded pretty high levels (17inches 13,000 gpm, in past few storms, pushing this one way up)
| 1 | 176533 | 1320558.6372 | 11.052 | 4960.4968 | 2715.8923 | 20316.2867 | 3315.6 | 24802.4121
| 1.5 | 271647 | 2032060.8164 | 15.9402 | 7154.4798 | 4179.1846 | 31262.4741 | 4782.06 | 35772.2955
| 2 | 366761 | 2743562.9957 | 20.8284 | 9348.4628 | 5642.4769 | 42208.6615 | 6248.52 | 46742.1788
| 2.5 | 461875 | 3455065.175 | 25.7166 | 11542.4459 | 7105.7692 | 53154.8488 | 7714.98 | 57712.0622
| 3 | 556989 | 4166567.3543 | 30.6048 | 13736.4289 | 8569.0615 | 64101.0362 | 9181.44 | 68681.9455
1. Based on linear rainfall/runoff relationship (see FLOW worksheets \\SDG1-FS1\SDShare\Projects-South\Environmental - Schaedler\5025-19-1029 City of SD TO 29 Hodges Nutrient Source Investigation\Data & Field Records\Flow data\MS4 Flow Processed)
2. Based on predicted stormflow total divided by target number of aliquots
3. Based on a minimum 5 minute time interval between aliquots during predicted peak flow

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only