## Sheet1
Bottle volume (L) | 20 |  |  | =modify
Aliquot volume (mL) | 250 |  |  | =pacing estimate
Maximum number of aliquots | 80
Target number of aliquots | 65
Forecasted Rainfall (in) | 1
Site | Predicted Total Storm Flow1 |  | Predicted Peak Flow1 |  | Total Stormflow based pacing2 |  | Peak Stormflow based pacing3
| cf | gal | cfs | gpm | cf | gal | cf | gal
DW0011-Bernardo Plaza | 13562.94 | 101457.8439 | 3.3705 | 1512.7899 | 208.6606 | 1560.8899 | 1011.15 | 7563.9278
DW0317-Tazon | 16432.72 | 122925.2906 | 4.9292 | 2212.3852 | 252.8111 | 1891.1583 | 1478.76 | 11061.8938
DW914-Lomica | 176533 | 1320558.6372 | 11.052 | 4960.4968 | 2715.8923 | 20316.2867 | 3315.6 | 24802.4121
HDG101-El Ku | 14369.5 | 107491.3321 | 2.1843 | 980.3848 | 221.0692 | 1653.7128 | 655.29 | 4901.91
HDG102-Via Rancho | 100838.2 | 754322.1719 | 13.6392 | 6121.7162 | 1551.3569 | 11604.9565 | 4091.76 | 30608.4925
1. Based on linear rainfall/runoff relationship (see FLOW worksheets \\SDG1-FS1\SDShare\Projects-South\Environmental - Schaedler\5025-19-1029 City of SD TO 29 Hodges Nutrient Source Investigation\Data & Field Records\Flow data\MS4 Flow Processed)
2. Based on predicted stormflow total divided by target number of aliquots
3. Based on a minimum 5 minute time interval between aliquots during predicted peak flow

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only