## Sheet1
Bottle volume (L) | 20 |  |  | =modify
Aliquot volume (mL) | 250 |  |  | =pacing estimate
Maximum number of aliquots | 80
Target number of aliquots | 65
Forecasted Rainfall (in) | 0.5
Site | Predicted Total Storm Flow1 |  | Predicted Peak Flow1 |  | Total Stormflow based pacing2 |  | Peak Stormflow based pacing3
| cf | gal | cfs | gpm | cf | gal | cf | gal | Start of Storm 2
DW0011-Bernardo Plaza | 6316.94 | 47253.996 | 1.5668 | 703.2308 | 97.1837 | 726.9846 | 470.04 | 3516.1436 | 3,000 gal
DW0317-Tazon | 8561.22 | 64042.3774 | 2.3073 | 1035.6137 | 131.7111 | 985.2673 | 692.205 | 5178.0533 | 5,000 gal
DW914-Lomica | 81419 | 609056.4579 | 6.1638 | 2766.5138 | 1252.6 | 9370.0994 | 1849.14 | 13832.5288 | 12000 gal
HDG101-El Ku | 5641.5 | 42201.3536 | 1.1656 | 523.1367 | 86.7923 | 649.2516 | 349.665 | 2615.676 | 2,500 gal
HDG102-Via Rancho | 51347.2 | 384103.7565 | 9.0676 | 4069.8336 | 789.9569 | 5909.2886 | 2720.28 | 20349.1089 | 2500 cf
1. Based on linear rainfall/runoff relationship (see FLOW worksheets \\SDG1-FS1\SDShare\Projects-South\Environmental - Schaedler\5025-19-1029 City of SD TO 29 Hodges Nutrient Source Investigation\Data & Field Records\Flow data\MS4 Flow Processed)
2. Based on predicted stormflow total divided by target number of aliquots
3. Based on a minimum 5 minute time interval between aliquots during predicted peak flow

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only